|  |  |
| --- | --- |
|  | Checklist 21-5: **Wall Forms (TS5)** |
| MC Development Corp. | Project: | Contractor: |
| **Number** | **Checkpoints** | BI | DI | AI |
| **1** | Status of previous TS inspections are approved by the PM/DNV |  |  |  |
| **Comment** |  |
| **2** | Formwork appropriate for required concrete finish (architectural)  |  |  |  |
| **Comment** |  |
| **3** | Formwork drawings or snap tie manufacturer’s drawings are available? (Height of pour, pour rate, and any unusual details.) |  |  |  |
| **Comment** |  |
| **4** | Double check on level and plumb? Engineered forms are signed off; field inspection by engineer required? |  |  |  |
| **Comment** |  |
| **5** | 2x4 on the footing secured in the proper location |  |  |  |
| **Comment** |  |
| **6** | Snap-tie holes drilled 1/8” larger than the snap-tie head |  |  |  |
| **Comment** |  |
| **7** | Underground Facilities located and marked to prevent damage from form pins |  |  |  |
| **Comment** |  |
| **8** | Temporary bracing of form panels adequate to support the lateralpressure of fresh concrete and any wind loads? |  |  |  |
| **Comment** |  |
| **9** | Final review of forming system complete? |  |  |  |
| **Comment** |  |
| **Quality Scores and Completion Sign-off** |
| **Inspection#**Quality 5 4 3 2 1 Notes:On-Time 5 4 3 2 1 Notes:Sign and date\*: Cell # / ID #: Signed: Date: Task has been verified complete and in compliance with contract drawings and specifications except for non-conformances and incomplete items reported above. |
| **BI=** Inspection **B**efore task begin **-----------DI=** Inspection **D**uring task in-process --------**AI=** Inspection **A**fter task completed*Quality Score**5 = 100% NO problems 4 = 1 minor problems 3 = Hotspot or 2-3 minor 2 = 6+ or major problems 1 = Excessive problems****On-Time Score*** *5 = On Time 4 = Late 3 = Late by 1 day 2 = Late by 2 days 1 = Late more than 2 days****Safety Score*** *5 = 100% NO problems 4 = 1 minor problem 3 = Hotspot or 2-3 minor 2= 4+ or major problem 1= Injury* |