|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Checklist 10-5: **Make up Connections (TS5)** | | | | | | | |
| MC Development Corp. | | Project: | Contractor: | | | | | |
| **Number** | **Checkpoints** | | | BI | DI | | | AI |
| **1** | Stripping off the sheathing is done as explained in (WM10- 8.7.1) | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **2** | Stripping off the insulation is done as explained in (WM10- 8.7.3) | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **3** | Connecting the wires is done as explained in (WM10-8.7.4 &.5) | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **4** | All Connections have a properly covered by right-sized wire nuts | | |  | |  |  | |
| **Comment** |  | | | | | | | |
| **5** | The wires are folded in to the boxes neatly | | |  | |  |  | |
| **Comment** |  | | | | | | | |
| **6** | Smoke detector box installed in rooms per code | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **7** | Damaged outlet and switch boxes replaced | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **8** | Nail plates installed 100% | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **9** | Final review, everything as per plan? Sweep out house | | |  |  | | |  |
| **Comment** |  | | | | | | | |
| **Quality Scores and Completion Sign-off** | | | | | | | | |
| **Inspection#**  Quality 5 4 3 2 1 Notes:  On-Time 5 4 3 2 1 Notes:  Sign and date\*: Cell # / ID #: Signed: Date:  Task has been verified complete and in compliance with contract drawings and specifications except for non-conformances and incomplete items reported above. | | | | | | | | |
| **BI=** Inspection **B**efore task begin **-----------DI=** Inspection **D**uring task in-process --------**AI=** Inspection **A**fter task completed  *Quality Score**5 = 100% NO problems 4 = 1 minor problems 3 = Hotspot or 2-3 minor 2 = 6+ or major problems 1 = Excessive problems*  ***On-Time Score*** *5 = On Time 4 = Late 3 = Late by 1 day 2 = Late by 2 days 1 = Late more than 2 days*  ***Safety Score*** *5 = 100% NO problems 4 = 1 minor problem 3 = Hotspot or 2-3 minor 2= 4+ or major problem 1= Injury* | | | | | | | | |